Astro 2 series

Typical Specifications

General Description

Three Speed Wet Rotor Circulator

Furnish and install, as shown on the plans, Armstrong Astro 2 circulating pump model with stainless steel/lead free bronze/cast iron body and Noryl impeller. The pump shall have a capacity of _____ USgpm (L/s) against a total head of _______ ft (m). Armstrong Astro 2 Series are 115V/230V/single phase/60 Hz and are cETLus listed.

Stainless steel/lead free bronze body Astro 2 is NSF 372 certified which complies with Section 116875 of the California Health and Safety Code and Vermont Act 193. (Lead content of all wetted surface is 0.25% or less.)

# Text boxes

File No: 10.221

Date: November 20, 2015

Supersedes: 10.221

Date: August 16, 2013